## 23 Household Cost Reduction
SOURCES: | EIA (2022) | Census (2021)
Websites: | https://www.eia.gov/totalenergy/data/monthly/ | https://www.census.gov/data/tables/time-series/demo/families/households.html
See: | Table 2.2 Residential sector energy consumption | Table HH1
DATA:
Annual Total | Total Energy Consumed by the Residential Sector | Number of households | Energy use per household
| (Trillion Btu) | (thousands) | (mmBtu)
1949 | 5599.404
1950 | 5988.744
1951 | 6380.397
1952 | 6560.456
1953 | 6558.982
1954 | 6846.306
1955 | 7278.249
1956 | 7663.006
1957 | 7712.289
1958 | 8200.985
1959 | 8412.235
1960 | 9039.816 | 52799
1961 | 9286.431 | 53557
1962 | 9782.865 | 54764
1963 | 9988.955 | 55270
1964 | 10241.058 | 56149
1965 | 10639.89 | 57436
1966 | 11169.166 | 58406
1967 | 11639.868 | 59236
1968 | 12336.928 | 60813
1969 | 13169.881 | 62214
1970 | 13766.472 | 63401
1971 | 14246.925 | 64778
1972 | 14857.828 | 66676
1973 | 14898.094 | 68251
1974 | 14655.022 | 69859
1975 | 14814.067 | 71120
1976 | 15410.953 | 72867
1977 | 15662.391 | 74142
1978 | 16132.944 | 76030
1979 | 15813.167 | 77330
1980 | 15753.786 | 80776
1981 | 15261.934 | 82368
1982 | 15531.314 | 83527
1983 | 15425.469 | 83918
1984 | 15959.927 | 85407
1985 | 16041.743 | 86789
1986 | 15975.51 | 88458
1987 | 16263.66 | 89479
1988 | 17133.058 | 91066
1989 | 17790.213 | 92830
1990 | 16940.519 | 93347
1991 | 17419.82 | 94312
1992 | 17355.252 | 95669
1993 | 18212.1 | 96426
1994 | 18110.761 | 97107
1995 | 18517.171 | 98990
1996 | 19502.447 | 99627
1997 | 18962.848 | 101018
1998 | 18952.471 | 102528
1999 | 19554.197 | 103874
2000 | 20421.765 | 104705
2001 | 20038.277 | 108209
2002 | 20786.494 | 109297
2003 | 21120.03 | 111278
2004 | 21082.055 | 112000
2005 | 21613.315 | 113343 | 190.6895
2006 | 20670.902 | 114384 | 180.715
2007 | 21519.623 | 116011 | 185.4964
2008 | 21668.347 | 116783 | 185.5437
2009 | 21082.081 | 117181 | 179.9104
2010 | 21894.849 | 117538 | 186.2789
2011 | 21381.888 | 119927 | 178.2909
2012 | 19870.105 | 121084 | 164.1018
2013 | 21051.788 | 122459 | 171.9089
2014 | 21445.583 | 123229 | 174.0303
2015 | 20617.523 | 124587 | 165.487
2016 | 20178.696 | 125819 | 160.3788
2017 | 19886.84 | 126224 | 157.552
2018 | 21509.619 | 127586 | 168.5892
2019 | 21073.385 | 128579 | 163.8945
2020 | 20552.955 | 128451 | 160.0062
2021 | 20884.265 | 129931 | 160.7335

## 24 Appliance EE Improvements
SOURCE: | ACEEE (2015)
Website: | http://www.aceee.org/sites/default/files/publications/researchreports/e1502.pdf
See: | Figure 5, p. 7
SOURCE: | AHAM (2018)
Website: | https://www.aham.org/ItemDetail?iProductCode=50012&Category=DATAPROG&WebsiteKey=69a0a5fb-295a-4894-acd0-5785f146b899
DATA:
Relative Energy Consumption of Average New Appliances (1980-2018)
| Refrigerators |  | Central AC + HP |  | Gas Furnace |  | Clothes Washers
Year | kWh | Normalized | (SEER) | Normalized | AFUE | Normalized | kWh/cycle | Normalized
1972 | 1726 |  | 6.6342 |  | 65
1973 |  |  | 6.7264
1974 |  |  | 6.8204
1975 |  |  | 6.9432 |  | 64.0205
1976 |  |  | 7.0028
1977 |  |  | 7.0892
1978 | 1453 |  | 7.323 |  | 65.317
1979 |  |  | 7.4479
1980 | 1278 | 1 | 7.5432 | 1 | 70.145 | 1
1981 | 1190 | 0.93114 | 7.7664 | 0.97126 |  |  | 2.59 | 1
1982 | 1191 | 0.93192 | 8.2216 | 0.91749
1983 | 1160 | 0.90767 | 8.396 | 0.89843 | 69.5107 | 1.0091
1984 | 1139 | 0.89124 | 8.6243 | 0.87464 | 72.2024 | 0.97151
1985 | 1058 | 0.82786 | 8.7758 | 0.85955 | 72.5861 | 0.96637
1986 | 1074 | 0.84038 | 8.8411 | 0.8532 | 73.5155 | 0.95415
1987 | 974 | 0.76213 | 8.9632 | 0.84157 | 74.0194 | 0.94766
1988 | 964 | 0.7543 | 9.1134 | 0.8277 | 74.6352 | 0.93984
1989 | 934 | 0.73083 | 9.2517 | 0.81533 | 74.6484 | 0.93967
1990 | 916 | 0.71674 | 9.2909 | 0.81189 | 75.5467 | 0.9285 | 2.67 | 1.0309
1991 | 857 | 0.67058 | 9.4977 | 0.79421 | 76.4892 | 0.91706 | 2.68 | 1.0347
1992 | 821 | 0.64241 | 10.4489 | 0.72191 | 81.7217 | 0.85834 | 2.67 | 1.0309
1993 | 660 | 0.51643 | 10.581 | 0.7129 | 81.8544 | 0.85695 | 2.71 | 1.0463
1994 | 653 | 0.51095 | 10.6391 | 0.70901 | 82.632 | 0.84888 | 2.23 | 0.861
1995 | 649 | 0.50782 | 10.6912 | 0.70555 | 82.5094 | 0.85015 | 2.22 | 0.85714
1996 | 661 | 0.51721 | 10.6951 | 0.70529 | 82.671 | 0.84848 | 2.24 | 0.86486
1997 | 669 | 0.52347 | 10.679 | 0.70636 | 82.895 | 0.84619 | 2.21 | 0.85328
1998 |  |  | 10.2919 | 0.73292 | 82.7792 | 0.84737 | 2.27 | 0.87645
1999 | 690 | 0.53991 | 10.9495 | 0.68891 | 82.7966 | 0.8472 | 2.17 | 0.83784
2000 | 704 | 0.55086 | 11.1639 | 0.67568 | 82.8068 | 0.84709 | 2.2 | 0.84942
2001 | 565 | 0.4421 | 11.127 | 0.67792 | 83.3446 | 0.84163 | 2.19 | 0.84556
2002 | 520 | 0.40689 | 11.1276 | 0.67788 | 83.3363 | 0.84171 | 2.13 | 0.82239
2003 | 514 | 0.40219 | 11.2826 | 0.66857 | 83.7652 | 0.8374 | 1.97 | 0.76062
2004 | 500 | 0.39124 | 11.3839 | 0.66262 | 83.7888 | 0.83716 | 1.22 | 0.47104
2005 | 490 | 0.38341 | 11.4177 | 0.66066 | 84.1282 | 0.83379 | 1.13 | 0.43629
2006 | 506 | 0.39593 | 13.1681 | 0.57284 | 84.7416 | 0.82775 | 1.18 | 0.4556
2007 | 498 | 0.38967 | 13.6586 | 0.55227 | 84.8242 | 0.82695 | 0.82 | 0.3166
2008 | 483 | 0.37793 | 13.77 | 0.5478 | 85.6317 | 0.81915 | 0.8 | 0.30888
2009 | 460 | 0.35994 | 13.97 | 0.53996 | 86.521 | 0.81073 | 0.72 | 0.27799
2010 | 455 | 0.35603 | 14.41 | 0.52347 | 86.408 | 0.81179 | 0.66 | 0.25483
2011 | 452 | 0.35368 | 14.22 | 0.53046 | 85.736 | 0.81815 | 0.66 | 0.25483
2012 | 454 | 0.35524 | 14.23 | 0.53009 | 85.664 | 0.81884 | 0.7 | 0.27027
2013 | 444 | 0.34742 | 14.33 | 0.52639 | 84.792 | 0.82726 | 0.69 | 0.26641
2014 | 502 | 0.3928 | 14.38 | 0.52456 | 85.82 | 0.81735 | 0.68 | 0.26255
2015 | 490 | 0.38341 |  |  |  |  | 0.59 | 0.2278
2016 | 510 | 0.39906 |  |  |  |  | 0.58 | 0.22394
2017 | 505 | 0.39515 |  |  |  |  | 0.52 | 0.20077
2018 | 510 | 0.39906 |  |  |  |  | 0.54 | 0.20849
Note: DOE test procedure changed in 2014 for refrigerators

## 25 Elec. savings appliance
SOURCE: | ACEEE & ASAP (2022)
Website: | n/a
DATA:
Savings from Federal Appliance Standards since 1990
Year | Electricity savings (TWh)
1991 | 2.6
1992 | 5.2
1993 | 7.8
1994 | 14.3433
1995 | 26.7199
1996 | 39.0965
1997 | 53.2231
1998 | 67.3497
1999 | 81.4763
2000 | 95.7218
2001 | 112.0649
2002 | 128.408
2003 | 144.7511
2004 | 162.541
2005 | 181.6643
2006 | 204.1579
2007 | 230.1849
2008 | 253.3793
2009 | 277.2445
2010 | 300.038
2011 | 318.7766
2012 | 342.5157
2013 | 374.1625
2014 | 409.851
2015 | 445.5481
2016 | 479.4087
2017 | 521.0211
2018 | 556.0881
2019 | 591.2025
2020 | 625.2696
2021 | 653.3621
2022 | 681.8675
Source: Joanna Mauer, ASAP/ACEEE

## 25 Gas savings appliance
SOURCE: | ACEEE & ASAP (2022)
Website: | n/a
DATA:
Savings from Federal Appliance Standards since 1990
Year | Natural gas savings (TBtu)
1991 | 12.1048
1992 | 24.2095
1993 | 36.3143
1994 | 54.5112
1995 | 72.7082
1996 | 90.9051
1997 | 136.7505
1998 | 182.5959
1999 | 228.4413
2000 | 274.2867
2001 | 289.6732
2002 | 305.0598
2003 | 320.4464
2004 | 344.2008
2005 | 372.7358
2006 | 405.9749
2007 | 443.9179
2008 | 487.108
2009 | 533.7584
2010 | 583.0519
2011 | 615.8349
2012 | 644.8166
2013 | 671.021
2014 | 688.3517
2015 | 707.4639
2016 | 726.1381
2017 | 744.9262
2018 | 763.7638
2019 | 782.1185
2020 | 799.9368
2021 | 814.74
2022 | 829.6634
Source: Joanna Mauer, ASAP/ACEEE

## 26 Market Impact ENERGY STAR
SOURCE: | EPA (2019) |  |  |  | SOURCE: | EPA (2019)
Clothes Washer |  |  |  |  | Refrigerator
DATA: |  |  |  |  | DATA:
For clothes washers: |  |  |  |  | For refrigerators:
Year | ENERGY STAR Performance Level | ENERGY STAR Annual Energy Consumption | Shipment-Weighted Average Energy Consumption | Capacity | Year | ENERGY STAR Performance Level | Annual Energy Consumption (Shipment-Weighted Average) | Volume
| kWh/year | kWh/year | kWh/year | (cu-ft) |  | kWh/year | kWh/year | (cu-ft)
1980-01-01 |  |  |  |  | 1980-01-01 |  | 1275 | 19.6
1981-01-01 |  |  |  | 2.52 | 1981-01-01 |  | 1200
1982-01-01 |  |  |  |  | 1982-01-01 |  | 1200
1983-01-01 |  |  |  |  | 1983-01-01 |  | 1160
1984-01-01 |  |  |  |  | 1984-01-01 |  | 1140
1985-01-01 |  |  |  |  | 1985-01-01 |  | 1060
1986-01-01 |  |  |  |  | 1986-01-01 |  | 1080
1987-01-01 |  |  |  |  | 1987-01-01 |  | 970
1988-01-01 |  |  |  |  | 1988-01-01 |  | 960
1989-01-01 |  |  |  |  | 1989-01-01 |  | 950
1990-01-01 |  |  |  | 2.63 | 1990-01-01 |  | 916 | 20.45
1991-01-01 |  |  |  | 2.72 | 1991-01-01 |  | 857 | 19.82
1992-01-01 |  |  |  | 2.71 | 1992-01-01 |  | 821 | 19.78
1993-01-01 |  |  |  | 2.71 | 1993-01-01 |  | 660 | 20.11
1993-01-01 |  |  |  | 2.71 | 1993-01-01 |  | 660 | 20.11
1994-01-01 |  |  |  | 2.69 | 1994-01-01 |  | 653 | 20.03
1994-05-14 |  |  |  | 2.69 | 1995-01-01 |  | 649 | 19.95
1995-01-01 |  |  |  | 2.72 | 1996-01-01 |  | 661 | 20.31
1996-01-01 |  |  |  | 2.8 | 1996-10-01 |  | 661 | 20.31
1996-10-01 |  |  |  | 2.8 | 1996-10-01 | 570 | 661 | 20.31
1996-10-01 |  |  |  | 2.8 | 1997-01-01 | 570 | 669 | 20.43
1997-01-01 |  |  |  | 2.83 | 1998-01-01 | 570 | 680 | 20.5532
1998-01-01 |  |  |  | 2.85 | 1999-01-01 | 570 | 690 | 20.64
1999-01-01 |  |  |  | 2.89 | 2000-01-01 | 570 | 704 | 21.9
2000-01-01 |  |  |  | 2.92 | 2001-01-01 | 570 | 565 | 21.94
2001-01-01 |  |  |  | 2.96 | 2001-07-01 | 570 | 565 | 21.94
2001-07-01 |  |  |  | 2.96 | 2001-07-01 | 476 | 565 | 21.94
2001-07-01 |  |  |  | 2.96 | 2002-01-01 | 476 | 520 | 22.15
2002-01-01 |  |  |  | 2.96 | 2003-01-01 | 476 | 514 | 22.28
2003-01-01 |  |  |  | 3.01 | 2004-01-01 | 476 | 500 | 21.52
2004-01-01 | 1015.8852 | 884.9448 | 930.0326 | 3.05 | 2004-01-01 | 449 | 500 | 21.52
2004-01-01 | 1015.8852 | 884.9448 | 930.0326 | 3.05 | 2005-01-01 | 449 | 490 | 20.73
2005-01-01 | 1009.2471 | 884.9448 | 914.6225 | 3.08 | 2006-01-01 | 449 | 506 | 22.25
2006-01-01 | 999.9538 | 884.9448 | 886.4069 | 3.13 | 2007-01-01 | 449 | 498 | 21.87
2006-01-01 | 779.3801 | 700.2392 | 886.4069 | 3.13 | 2008-01-01 | 449 | 483 | 21.35
2007-01-01 | 779.3801 | 700.2392 | 720.5012 | 3.16 | 2008-04-28 | 449 | 483 | 21.35
2007-01-01 | 733.9045 | 697.6162 | 720.5012 | 3.16 | 2008-04-28 | 422 | 483 | 21.35
2008-01-01 | 733.9045 | 697.6162 | 710.9185 | 3.22 | 2009-01-01 | 422 | 460 | 20.98
2008-04-28 | 733.9045 | 697.6162 | 710.9185 | 3.22 | 2010-01-01 | 422 | 455 | 21.97
2008-04-28 | 733.9045 | 697.6162 | 710.9185 | 3.22 | 2011-01-01 | 422 | 452 | 22
2009-01-01 | 733.3356 | 697.6162 | 707.4226 | 3.34 | 2012-01-01 | 422 | 454 | 22.59
2010-01-01 | 733.9045 | 697.6162 | 702.6976 | 3.46 | 2013-01-01 | 422 | 444 | 21.66
2011-01-01 | 737.3176 | 697.6162 | 652.2605 | 3.51 | 2014-01-01 | 422 | 502 | 24.24
2011-01-01 | 648.5767 | 688.8256 | 652.2605 | 3.51 | 2014-09-15 | 422 | 502 | 24.24
2012-01-01 | 650.0653 | 688.8256 | 672.0614 | 3.59 | 2014-09-15 | 397 | 502 | 24.24
2013-01-01 | 650.4375 | 688.8256 | 676.408 | 3.66 | 2015-01-01 | 397 | 490 | 22.74
2013-02-01 | 650.4375 | 688.8256 | 676.408 | 3.66 | 2015-07-01 | 397 | 490 | 22.74
2013-02-01 | 650.4375 | 688.8256 | 676.408 | 3.66 | 2015-07-01 | 397 | 490 | 22.74
2014-01-01 | 650.8096 | 688.8256 | 695.1858 | 3.88 | 2015-09-01 | 397 | 490 | 22.74
2014-09-15 | 650.8096 | 688.8256 | 695.1858 | 3.88 | 2016-01-01 | 397 | 510 | 24.08
2014-09-15 | 650.8096 | 688.8256 | 695.1858 | 3.88 | 2017-01-01 | 397 | 505 | 23.91
2015-01-01 | 651.1818 | 688.8256 | 650.3039 | 3.99 | 2018-01-01 | 397
2015-03-07 | 651.1818 | 688.8256 | 650.3039 | 3.99 | 2019-01-01 | 397
2015-03-07 | 486.7385 | 560.0315 | 650.3039 | 3.99
2015-09-01 | 486.7385 | 560.0315 | 650.3039 | 3.99
2016-01-01 | 485.3841 | 560.0315 | 677.8371 | 4.09
2017-01-01 | 485.7227 | 560.0315 | 654.1304 | 4.08
2018-01-01 | 485.7227 | 560.0315 |  | 4.08
2018-01-01 | 467.9008 | 542.9283 |  | 4.08
2019-01-01 | 468.1562 | 542.9283 |  | 4.08
Notes:
- The Shipment-Weighted Average Energy Consumption values are from the AHAM Efficiency Trends Report.
- The Annual Energy Consumption at ENERGY STAR Level values are based on the efficiency metric where the EF and MEF are cross-walked to the IMEF metric for the Front Load and Top Load configuration and weighted by the market share for Top Load and Front Load sales, which are from the AHAM Shipments Report.. This calculation is using a constant value for the capacity which is the average of the shipment-weighted capacities from the AHAM Efficiency Trends Report from 2004 through 2017.
- The Capacity values are from the AHAM Efficiency Trends Report.
- DOE updated the test procedure in 2015, which captured energy that was not previously measured. This is the likely cause for the shipment-weighted average annual energy consumption to not go down from 2015 to 2016.
Notes:
- The Shipment-Weighted Average Energy Consumption values are from the AHAM Efficiency Trends Report.
- The Annual Energy Consumption at ENERGY STAR Level values are based on the product class market share weight average ENERGY STAR level for refrigerators that is a function of the average volume. The source is DOE.
- The Volume values are from the AHAM Efficiency Trends Report.
- DOE updated the test procedure in 2014, which captured energy that was not previously measured. This is the primary cause for the shipment-weighted average annual energy consumption to go up from 2013 to 2014.
Note on E67: Leybourn, Steve: ENERGY STAR Assumption

## 27 Commercial Energy Intensity
1995-2012
SOURCES: | EIA (1995-2012; interpolation of square footage)
Websites: | https://www.eia.gov/consumption/commercial/data/2012/
See: | CBECS: summary table for floorspace
2012-2018
SOURCES: | AEO (2017-2019; interpolation of square footage)
Websites: | https://www.eia.gov/outlooks/aeo/
See: | Commercial Sector Key Indicators and Consumption
2018-2021
SOURCES: | AEO2022 (2021 square footage); AEO2021 (2020 square footage); AEO2020 (2019 square footage)
Websites: | https://www.eia.gov/outlooks/aeo/data/browser/#/?id=32-AEO2022&cases=ref2022&sourcekey=0
See: | Table 22. Commercial Building Floorspace
DATA: |  |  |  | DATA:
| Energy Use in the Commercial Sector |  |  |  | Energy Use in the Commercial Sector
Year | Total Energy Consumed by the Commercial Sector | Commercial building floor area | Energy use per square foot | Year | Total Energy Consumed by the Commercial Sector | Commercial building floor area | Energy use per square foot
| (Trillion Btu) | (million sf) | (kBtu) |  | (Trillion Btu) | (million sf) | (kBtu)
1995 | 14690.057 | 58772 | 249.9499 | 1995 | 14689.889 | 58772 | 249.9471
1996 | 15172.073 | 60913.5 | 249.0757 | 1996 | 15171.883 | 60913.5 | 249.0726
1997 | 15681.338 | 63055 | 248.693 | 1997 | 15681.148 | 63055 | 248.69
1998 | 15967.639 | 65196.5 | 244.9156 | 1998 | 15967.448 | 65196.5 | 244.9127
1999 | 16376.466 | 67338 | 243.198 | 1999 | 16376.239 | 67338 | 243.1946
2000 | 17175.54 | 68418 | 251.0383 | 2000 | 17175.294 | 68418 | 251.0347
2001 | 17136.971 | 69498 | 246.5822 | 2001 | 17136.724 | 69498 | 246.5787
2002 | 17345.948 | 70578 | 245.7699 | 2002 | 17345.692 | 70578 | 245.7663
2003 | 17346.377 | 71658 | 242.0717 | 2003 | 17346.089 | 71658 | 242.0677
2004 | 17655.762 | 73373 | 240.6302 | 2004 | 17655.462 | 73373 | 240.6261
2005 | 17853.77 | 75088 | 237.7713 | 2005 | 17853.445 | 75088 | 237.767
2006 | 17707.618 | 76803 | 230.5589 | 2006 | 17707.235 | 76803 | 230.5539
2007 | 18253.389 | 78518 | 232.4739 | 2007 | 18252.918 | 78518 | 232.4679
2008 | 18402.95 | 80233 | 229.3688 | 2008 | 18402.244 | 80233 | 229.36
2009 | 17888.419 | 81948 | 218.2899 | 2009 | 17887.561 | 81948 | 218.2794
2010 | 18059.834 | 83663 | 215.864 | 2010 | 18058.632 | 83663 | 215.8497
2011 | 17983.22 | 85378 | 210.6306 | 2011 | 17981.378 | 85378 | 210.609
2012 | 17424.219 | 87093 | 200.0645 | 2012 | 17421.351 | 87093 | 200.0316
2013 | 17930.031 | 87681.7943 | 204.4898 | 2013 | 17929.446 | 87681.7943 | 204.4831
2014 | 18264.674 | 88270.5887 | 206.9169 | 2014 | 18264.465 | 88270.5887 | 206.9145
2015 | 18156.921 | 88859.383 | 204.3332 | 2015 | 18156.728 | 88859.383 | 204.331
2016 | 18030.418 | 89743.965 | 200.9095 | 2016 | 18030.223 | 89743.965 | 200.9074
2017 | 17899.859 | 90694.138 | 197.3651 | 2017 | 17899.252 | 90694.138 | 197.3584
2018 | 18439.768 | 91700 | 201.088 | 2018 | 18607.546 | 91700 | 202.9176
2019 | 18013.181 | 92820 | 194.0657
2020 | 16749.278 | 93580 | 178.9835
2021 | 17410.231 | 94449.86 | 184.3331

## 27 Consumption by End Use
SOURCES: | EIA (2003) | EIA (2012)
Websites: | https://www.eia.gov/consumption/commercial/archive/cbecs/cbecs2003/detailed_tables_2003/2003set19/2003html/e01a.html | https://www.eia.gov/consumption/commercial/data/2012/c&e/cfm/e1.php
See: | CBECS, Major fuel consumption by end use | CBECS, Major fuel consumption by end use
DATA:
|  | Space heating | Cooling | Ventilation | Water heating | Lighting | Cooking | Refrigeration | Office equipment | Computing | Other | Sum
|  | trillion Btu | trillion Btu | trillion Btu | trillion Btu | trillion Btu | trillion Btu | trillion Btu | trillion Btu | trillion Btu | trillion Btu | trillion Btu
| 2003 | 2365 | 516 | 436 | 501 | 1340 | 190 | 381 | 69 | 156 | 569 | 6523
| 2012 | 1756 | 656 | 668 | 507 | 724 | 517 | 670 | 172 | 405 | 889 | 6964
AEO End Use Data (Alternate Data)
AEO 2022 Table 5 Reference Case
https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2022&cases=ref2022&sourcekey=0 | [12 empty] | Source | Link
|  | Delivered Energy Use by End Use: Space Heating (quads) quads | Delivered Energy Use by End Use: Space Cooling (quads) quads | Delivered Energy Use by End Use: Water Heating (quads) quads | Delivered Energy Use by End Use: Ventilation (quads) quads | Delivered Energy Use by End Use: Cooking (quads) quads | Delivered Energy Use by End Use: Lighting (quads) quads | Delivered Energy Use by End Use: Refrigeration (quads) quads | Delivered Energy Use by End Use: Computing (quads) quads | Delivered Energy Use by End Use: Office Equipment (quads) quads | Delivered Energy Use by End Use: Other Uses (quads) quads | Delivered Energy Use by End Use: Delivered Energy (quads) quads
| 2007 | 1.7749 | 0.58749 | 0.55555 | 0.48962 | 0.18785 | 1.0589 | 0.40086 | 0.21321 | 0.218 | 2.9537 | 8.44 | AEO2010 | https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2010&region=0-0&cases=aeo2010r&start=2007&end=2035&f=A&linechart=aeo2010r-d111809a.5-5-AEO2010~aeo2010r-d111809a.48-5-AEO2010~aeo2010r-d111809a.49-5-AEO2010~aeo2010r-d111809a.50-5-AEO2010~aeo2010r-d111809a.51-5-AEO2010~aeo2010r-d111809a.52-5-AEO2010~aeo2010r-d111809a.53-5-AEO2010~aeo2010r-d111809a.54-5-AEO2010~aeo2010r-d111809a.55-5-AEO2010~aeo2010r-d111809a.56-5-AEO2010~aeo2010r-d111809a.57-5-AEO2010~aeo2010r-d111809a.58-5-AEO2010&sourcekey=0
| 2008 | 1.8723 | 0.53365 | 0.54968 | 0.49459 | 0.18922 | 1.0395 | 0.40452 | 0.22577 | 0.23767 | 3.0313 | 8.5783 | ""
| 2009 | 1.9247 | 0.53081 | 0.5621 | 0.50131 | 0.19715 | 1.0299 | 0.39748 | 0.23067 | 0.24936 | 2.7917 | 8.4152 | ""
| 2012 | 1.7757 | 0.61618 | 0.63877 | 0.51041 | 0.22064 | 0.92372 | 0.37966 | 0.11535 | 0.21715 | 2.822 | 8.2195
| 2013 | 2.1682 | 0.52678 | 0.64724 | 0.51511 | 0.22463 | 0.9072 | 0.37308 | 0.10635 | 0.21571 | 3.0035 | 8.6877 | AEO2015 | https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2015&region=0-0&cases=ref2015&start=2012&end=2040&f=A&linechart=ref2015-d021915a.11-5-AEO2015~ref2015-d021915a.48-5-AEO2015~ref2015-d021915a.49-5-AEO2015~ref2015-d021915a.50-5-AEO2015~ref2015-d021915a.51-5-AEO2015~ref2015-d021915a.52-5-AEO2015~ref2015-d021915a.53-5-AEO2015~ref2015-d021915a.54-5-AEO2015~ref2015-d021915a.55-5-AEO2015~ref2015-d021915a.56-5-AEO2015~ref2015-d021915a.57-5-AEO2015~ref2015-d021915a.58-5-AEO2015&map=ref2015-d021915a.11-5-AEO2015&sourcekey=0
| 2014 | 2.2377 | 0.50951 | 0.64452 | 0.51342 | 0.22551 | 0.88708 | 0.36624 | 0.089351 | 0.21616 | 3.2564 | 8.9459 | AEO2016 | https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2016&region=0-0&cases=ref2016&start=2013&end=2040&f=A&linechart=ref2016-d032416a.5-5-AEO2016~ref2016-d032416a.48-5-AEO2016~ref2016-d032416a.49-5-AEO2016~ref2016-d032416a.50-5-AEO2016~ref2016-d032416a.51-5-AEO2016~ref2016-d032416a.52-5-AEO2016~ref2016-d032416a.53-5-AEO2016~ref2016-d032416a.54-5-AEO2016~ref2016-d032416a.55-5-AEO2016~ref2016-d032416a.56-5-AEO2016~ref2016-d032416a.57-5-AEO2016~ref2016-d032416a.58-5-AEO2016&sourcekey=0
| 2015 | 2.001 | 0.56531 | 0.31843 | 0.52037 | 0.39 | 0.524 | 0.63409 | 0.36534 | 0.22496 | 3.1259 | 8.6694 | AEO2017 | https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2017&region=0-0&cases=ref2017&start=2015&end=2050&f=A&linechart=ref2017-d120816a.5-5-AEO2017~ref2017-d120816a.48-5-AEO2017~ref2017-d120816a.49-5-AEO2017~ref2017-d120816a.50-5-AEO2017~ref2017-d120816a.51-5-AEO2017~ref2017-d120816a.52-5-AEO2017~ref2017-d120816a.53-5-AEO2017~ref2017-d120816a.54-5-AEO2017~ref2017-d120816a.55-5-AEO2017~ref2017-d120816a.56-5-AEO2017~ref2017-d120816a.57-5-AEO2017~ref2017-d120816a.58-5-AEO2017&sourcekey=0
| 2016 | 1.9253 | 0.58754 | 0.60917 | 0.51816 | 0.40184 | 0.49842 | 0.64019 | 0.35252 | 0.33381 | 3.0392 | 8.9062 | ""
| 2017 | 1.9253 | 0.51277 | 0.61428 | 0.51664 | 0.4074 | 0.48929 | 0.6466 | 0.34425 | 0.35992 | 3.1269 | 8.9433 | AEO 2018 | https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2018&region=0-0&cases=ref2018&start=2016&end=2050&f=A&linechart=ref2018-d121317a.5-5-AEO2018~ref2018-d121317a.48-5-AEO2018~ref2018-d121317a.49-5-AEO2018~ref2018-d121317a.50-5-AEO2018~ref2018-d121317a.51-5-AEO2018~ref2018-d121317a.52-5-AEO2018~ref2018-d121317a.53-5-AEO2018~ref2018-d121317a.54-5-AEO2018~ref2018-d121317a.55-5-AEO2018~ref2018-d121317a.56-5-AEO2018~ref2018-d121317a.57-5-AEO2018~ref2018-d121317a.58-5-AEO2018&sourcekey=0
| 2018 | 1.9753 | 0.52787 | 0.63311 | 0.51223 | 0.41071 | 0.48648 | 0.64603 | 0.34392 | 0.35979 | 3.0123 | 8.9077 | AEO 2019 | https://www.eia.gov/outlooks/aeo/data/browser/#/?id=5-AEO2019&region=0-0&cases=ref2019&start=2017&end=2050&f=A&linechart=ref2019-d111618a.5-5-AEO2019~~~~~~~~~~~~ref2019-d111618a.48-5-AEO2019~ref2019-d111618a.49-5-AEO2019~ref2019-d111618a.50-5-AEO2019~ref2019-d111618a.51-5-AEO2019~ref2019-d111618a.52-5-AEO2019~ref2019-d111618a.53-5-AEO2019~ref2019-d111618a.54-5-AEO2019~ref2019-d111618a.55-5-AEO2019~ref2019-d111618a.56-5-AEO2019~ref2019-d111618a.57-5-AEO2019~ref2019-d111618a.58-5-AEO2019&sourcekey=0
| 2019 | 2.2321 | 0.5525 | 0.64261 | 0.51691 | 0.42649 | 0.48203 | 0.65949 | 0.33322 | 0.41176 | 3.043 | 9.3001 | AEO2020
| 2020 | 2.1025 | 0.55811 | 0.64427 | 0.50584 | 0.42918 | 0.53478 | 0.65268 | 0.33016 | 0.43509 | 2.4988 | 8.6914
| 2021 | 2.1342 | 0.54815 | 0.50243 | 0.64323 | 0.51834 | 0.42875 | 0.64945 | 0.17679 | 0.42911 | 3.0333 | 9.0637
|  |  | -586.9469 |  |  |  | -1058.4403

## 28 Lighting Consumption
SOURCE: | Navigant Consulting (2001, 2010, and 2015)
Website: | https://www.energy.gov/eere/ssl/market-studies
See: | 2001, 2010, and 2015 Light Market Characterization reports
DATA:
| Incandescent including Halogen | CFL & Linear Fluorescent | HID | LED and other Solid-state Lighting | Other | Incandescent including Halogen | CFL & Linear Fluorescent | HID | LED | Other | Incandescent including Halogen | CFL & Linear Fluorescent | HID | LED | Other
| 2001 | 2001 | 2001 | 2001 | 2001 | 2010 | 2010 | 2010 | 2010 | 2010 | 2015 | 2015 | 2015 | 2015 | 2015
| Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh) | Energy (TWh)
Residential 2001 | 187.6 | 19.9 | 0.7
Residential 2010 | [5 empty] | 148.0424 | 24.9608 | 0.1962 |  | 1.3017
Residential 2015 | [10 empty] | 105.51 | 39.81 | 0.16 | 2.79 | 0.79
Commercial 2001 | 124.5 | 220.1 | 46.2 | 0.1
Commercial 2010 | [5 empty] | 30.0843 | 266.2642 | 49.4287 |  | 3.2878
Commercial 2015 | [10 empty] | 10.36 | 179.79 | 31.28 | 15.41 | 0.28
Industrial 2001 | 2.6 | 72.3 | 33
Industrial 2010 | [5 empty] | 0.10624 | 23.2511 | 34.8712 |  | 0.052468
Industrial 2015 | [10 empty] | 0.02 | 28.8 | 22.89 | 0.78 | 0.08
Outdoor 2001 | 6.5 | 1.1 | 50.2
Outdoor 2010 | [5 empty] | 5.5442 | 10.9912 | 98.1165 |  | 3.0475
Outdoor 2015 | [10 empty] | 6.33 | 8.32 | 162.19 | 18.98 | 6.42

## 29 LED Sales after 2015
SOURCE: | NEMA (2022)
Website: | https://www.nema.org/analytics/indices/view/t-led-lamp-shipments-index-increases-in-first-quarter-2022-compared-to-previous-year
DATA
SOURCE: | NEMA (2022)
Website: | https://www.nema.org/analytics/lamp-indices
DATA

## 30 Benchmark or dicslos
SOURCE: | BCSE & BloombergNEF (2021)
Website: | https://bcse.org/wp-content/uploads/2021-Sustainable-Energy-in-America-Factbook.pdf
See: | p. 106
DATA:
Floor Space Covered by Benchmarking or Disclosure Requirements (millions of square feet)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
| California | Washington (DC) | Austin (TX) | Washington State | New York City (NY) | Seattle (WA) | San Francisco (CA) | Philadelphia (PA) | Minneapolis (MN) | Boston (MA) | Denver (CO) | Chicago (IL) | Montgomery Co (MD) | Cambridge (MA) | Berkeley (CA) | Atlanta (GA) | Portland (OR) | Boulder (CO) | Kansas City (MO) | Pittsburgh (PA) | Orlando (FL) | Evanston (IL) | Los Angeles (CA) | Fort Collins (CO) | San Jose (CA) | Reno (NV) |  | Total commercial sector floorspace (millions sq ft) | Percent covered
2007-10-01 | 347
2007-11-01 | 347
2007-12-01 | 347
2008-01-01 | 347
2008-02-01 | 347
2008-03-01 | 347
2008-04-01 | 347
2008-05-01 | 347
2008-06-01 | 347
2008-07-01 | 347 | 357
2008-08-01 | 347 | 357
2008-09-01 | 347 | 357
2008-10-01 | 347 | 357
2008-11-01 | 347 | 357 | 113
2008-12-01 | 347 | 357 | 113 | [24 empty] | 78788.891 | 1.037%
2009-01-01 | 347 | 357 | 113 | [24 empty] | 78885.1872
2009-02-01 | 347 | 357 | 113 | [24 empty] | 78981.4834
2009-03-01 | 347 | 357 | 113 | [24 empty] | 79077.7796
2009-04-01 | 347 | 357 | 113 | [24 empty] | 79174.0758
2009-05-01 | 347 | 357 | 113 | 247 | [23 empty] | 79270.372
2009-06-01 | 347 | 357 | 113 | 247 | [23 empty] | 79366.6683
2009-07-01 | 347 | 357 | 113 | 247 | [23 empty] | 79462.9645
2009-08-01 | 347 | 357 | 113 | 247 | [23 empty] | 79559.2607
2009-09-01 | 347 | 357 | 113 | 247 | [23 empty] | 79655.5569
2009-10-01 | 347 | 357 | 113 | 247 | [23 empty] | 79751.8531
2009-11-01 | 347 | 357 | 113 | 247 | [23 empty] | 79848.1493
2009-12-01 | 347 | 357 | 113 | 247 | 2800 | [22 empty] | 79944.4455 | 4.833%
2010-01-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80040.7417
2010-02-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80137.0379
2010-03-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80233.3341
2010-04-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80329.6303
2010-05-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80425.9265
2010-06-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80522.2228
2010-07-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80618.519
2010-08-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80714.8152
2010-09-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80811.1114
2010-10-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 80907.4076
2010-11-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 81003.7038
2010-12-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 81100 | 5.111%
2011-01-01 | 347 | 357 | 113 | 247 | 2800 | 281 | [21 empty] | 81150
2011-02-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81200
2011-03-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81250
2011-04-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81300
2011-05-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81350
2011-06-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81400
2011-07-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81450
2011-08-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81500
2011-09-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81550
2011-10-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81600
2011-11-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81650
2011-12-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81700
2012-01-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81750
2012-02-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81800
2012-03-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81850
2012-04-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81900
2012-05-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | [20 empty] | 81950
2012-06-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | [19 empty] | 82000
2012-07-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | [19 empty] | 82050
2012-08-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | [19 empty] | 82100
2012-09-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | [19 empty] | 82150
2012-10-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | [19 empty] | 82200
2012-11-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | [19 empty] | 82250
2012-12-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | [19 empty] | 82300 | 5.65%
2013-01-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | [18 empty] | 82350
2013-02-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | [17 empty] | 82400
2013-03-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | [16 empty] | 82450
2013-04-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | [16 empty] | 82500
2013-05-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | [16 empty] | 82550
2013-06-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | [16 empty] | 82600
2013-07-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | [16 empty] | 82650
2013-08-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | [16 empty] | 82700
2013-09-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | [15 empty] | 82750
2013-10-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | [15 empty] | 82800
2013-11-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | [15 empty] | 82850
2013-12-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | [15 empty] | 82900
2014-01-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | [15 empty] | 82950
2014-02-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | [15 empty] | 83000
2014-03-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | [15 empty] | 83050
2014-04-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | [14 empty] | 83100
2014-05-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | [14 empty] | 83150
2014-06-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | [14 empty] | 83200
2014-07-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83250
2014-08-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83300
2014-09-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83350
2014-10-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83400
2014-11-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83450
2014-12-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83500 | 7.684%
2015-01-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83550
2015-02-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | [13 empty] | 83600
2015-03-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | [12 empty] | 83650
2015-04-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | [10 empty] | 83700
2015-05-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | [10 empty] | 83750
2015-06-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | [10 empty] | 83800
2015-07-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | [10 empty] | 83850
2015-08-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | [10 empty] | 83900
2015-09-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | [10 empty] | 83950
2015-10-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | [9 empty] | 84000
2015-11-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | [9 empty] | 84050
2015-12-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | [8 empty] | 6944.7 | 84100
2016-01-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | [9 empty] | 84150
2016-02-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | [9 empty] | 84200
2016-03-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | [9 empty] | 84250
2016-04-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | [9 empty] | 84300
2016-05-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | [8 empty] | 84350
2016-06-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | [8 empty] | 84400
2016-07-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | [8 empty] | 84450
2016-08-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | [8 empty] | 84500
2016-09-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | [8 empty] | 84550
2016-10-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | 164 | [7 empty] | 84600
2016-11-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | 164 | [7 empty] | 84650
2016-12-01 | 347 | 357 | 113 | 247 | 2800 | 281 | 205 | 300 | 110 | 250 | 360 | 900 | 68 | 78 | 13.7 | 402 | 87 | 26 | 400 | 164 | [6 empty] | 7508.7 | 84700 | 8.865%
2017-01-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | [7 empty] | 84750
2017-02-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | [7 empty] | 84800
2017-03-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | [7 empty] | 84850
2017-04-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | [7 empty] | 84900
2017-05-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | [6 empty] | 84950
2017-06-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | [5 empty] | 85000
2017-07-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 |  |  |  |  | 85050
2017-08-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 |  |  |  |  | 85100
2017-09-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 |  |  |  |  | 85150
2017-10-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 |  |  |  |  | 85200
2017-11-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 |  |  |  |  | 85250
2017-12-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 |  |  |  |  | 85300 | 12.54%
2018-01-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85350
2018-02-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85400
2018-03-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85450
2018-04-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85500
2018-05-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85550
2018-06-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85600
2018-07-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85650
2018-08-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85700
2018-09-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85750
2018-10-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85800
2018-11-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85850
2018-12-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85900 | 12.5%
2019-01-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 85950
2019-02-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 86000
2019-03-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 |  |  |  | 86050
2019-04-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 |  |  | 86100
2019-05-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86150
2019-06-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86200
2019-07-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86250
2019-08-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86300
2019-09-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86350
2019-10-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86400
2019-11-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86450
2019-12-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86500 | 12.73%
2020-01-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86550
2020-02-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86600
2020-03-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86650
2020-04-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86700
2020-05-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86750
2020-06-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86800
2020-07-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86850
2020-08-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86900
2020-09-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 86950
2020-10-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 87000
2020-11-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 87050
2020-12-01 | 2400 | 357 | 113 | 247 | 2800 | 281 | 205 | 350 | 110 | 250 | 360 | 900 | 68 | 88 | 13.7 | 402 | 87 | 26 | 400 | 164 | 125.6 | 45.6 | 900 | 47 | 250 | 25 |  | 87100 | 12.65%

## 30 ES Commercial Benchmarking
SOURCE: | EPA (2022) |  | SOURCE: | EPA (2019)
Website: | n/a
DATA: |  |  | DATA:
Buildings Benchmarking Energy through ENERGY STAR Portfolio Manager |  |  | Buildings Benchmarking Energy through ENERGY STAR Portfolio Manager
Year | Annual buildings benchmarked | Annual Floor space (millions) | Year | Annual buildings benchmarked | Annual Floor space (millions)
1999 | 1588 | 374 | 1999 | 1588 | 374
2000 | 2814 | 426 | 2000 | 2814 | 426
2001 | 6885 | 994 | 2001 | 6885 | 994
2002 | 6461 | 1251 | 2002 | 6461 | 1251
2003 | 5997 | 1187 | 2003 | 5997 | 1187
2004 | 7049 | 1180 | 2004 | 7049 | 1180
2005 | 10198 | 1548 | 2005 | 10198 | 1548
2006 | 15635 | 2308 | 2006 | 15635 | 2308
2007 | 43297 | 4622 | 2007 | 43297 | 4622
2008 | 43772 | 6580 | 2008 | 43772 | 6580
2009 | 65736 | 8353 | 2009 | 65736 | 8353
2010 | 86890 | 9536 | 2010 | 86890 | 9536
2011 | 116439 | 11437 | 2011 | 116439 | 11437
2012 | 181431 | 15872 | 2012 | 181431 | 15872
2013 | 213301 | 20584 | 2013 | 213301 | 20584
2014 | 204757 | 18765 | 2014 | 204757 | 18765
2015 | 214993 | 18382 | 2015 | 214993 | 18382
2016 | 227994 | 19139 | 2016 | 227994 | 19139
2017 | 248086 | 21411 | 2017 | 248086 | 21411
2018 | 278483 | 27101 | 2018 | 278483 | 27100
2019 | 260179 | 23743
2020 | 273941 | 24899
2021 | 281279 | 26533

## 31 Ratings by HERS RESNET
HERS Source: | RESNET (2022)
HES Source: | DOE (2022)
Annual New Ratings Performed by Home Energy Rating System and Home Energy Score
| HES | HERS
2012 | 1123 | 128000
2013 | 6752 | 218864
2014 | 7593 | 146860
2015 | 15040 | 190180
2016 | 21204 | 206583
2017 | 24511 | 227840
2018 | 29129 | 236116
2019 | 23378 | 241616
2020 | 16820 | 299000
2021 | 24874 | 311806

## 31 ES Certified Homes
SOURCE: | EPA (2022)
Website: | n/a
DATA:
Number of New Homes that are ENERGY STAR-rated (residential)
Year | Manufactured | Multi-Family High Rise | Multi-Family | Single Family | Grand Total | Cumulative
1994 | 0 | 0 | 0 | 16 | 16
1995 | 0 | 0 | 0 | 39 | 39 | 55
1996 | 0 | 0 | 0 | 447 | 447 | 502
1997 | 0 | 0 | 0 | 1699 | 1699 | 2201
1998 | 0 | 0 | 0 | 5531 | 5531 | 7732
1999 | 55 | 0 | 0 | 8437 | 8492 | 16224
2000 | 48 | 0 | 0 | 13883 | 13931 | 30155
2001 | 1016 | 0 | 0 | 26377 | 27393 | 57548
2002 | 3166 | 0 | 812 | 59729 | 63707 | 121255
2003 | 3314 | 0 | 3849 | 104159 | 111322 | 232577
2004 | 3602 | 0 | 9319 | 120019 | 132940 | 365517
2005 | 3647 | 0 | 9961 | 149633 | 163241 | 528758
2006 | 5170 | 54 | 11077 | 172581 | 188882 | 717640
2007 | 6072 | 78 | 8131 | 107300 | 121581 | 839221
2008 | 6896 | 189 | 4790 | 98180 | 110055 | 949276
2009 | 4684 | 426 | 6077 | 96018 | 107205 | 1056481
2010 | 4101 | 3101 | 12770 | 115509 | 135481 | 1191962
2011 | 5415 | 2342 | 16775 | 105961 | 130493 | 1322455
2012 | 3959 | 1322 | 15714 | 80960 | 101955 | 1424410
2013 | 6531 | 2836 | 7338 | 77933 | 94638 | 1519048
2014 | 5866 | 2001 | 7177 | 74770 | 89814 | 1608862
2015 | 6371 | 5313 | 10467 | 67054 | 89205 | 1698067
2016 | 10688 | 3677 | 9736 | 73083 | 97184 | 1795251
2017 | 4541 | 5954 | 12083 | 81543 | 104121 | 1899372
2018 | 6270 | 2656 | 12997 | 77768 | 99691 | 1999063
2019 | 6684 | 2907 | 12194 | 73472 | 95257 | 2094320
2020 | 22482 | 5332 | 17634 | 76176 | 121624 | 2215944
2021 | 21685 | 2532 | 27806 | 71896 | 123919 | 2339863
| 142263 | 40720 | 216707 | 1940173 | 2339863
Gran Total

## 32 Home Performance ES
SOURCE: | EPA (2022)
Website: | n/a
DATA
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Annual | 531 | 3304 | 4825 | 6990 | 12651 | 11646 | 12578 | 23291 | 40433 | 61844 | 77900 | 80453 | 93365 | 88759 | 80939 | 90487 | 85428 | 103535 | 72330 | 124489
Cumulative | 531 | 3835 | 8660 | 15650 | 28301 | 39947 | 52525 | 75816 | 116249 | 178093 | 255993 | 336446 | 429811 | 518570 | 599509 | 689996 | 775424 | 878959 | 951289 | 1075778

## 33 ES Commercial Buildings
SOURCE: | EPA (2022) |  |  |  |  | SOURCE: | EPA (2019)
Website: | n/a |  |  |  |  | Website: | https://www.energystar.gov/buildings/reference/find-energy-star-certified-buildings-and-plants/registry-energy-star-certified-buildings
[6 empty] | See: | ENERGY STAR Certified Building and Plant Locator (database)
DATA: | [5 empty] | DATA:
| Year | Number of Certified Buildings | Cumulative Certified Buildings Total | Current Year Floor Area (Millions) | Cumulative Floor Area (Millions) |  | Year | Number of Certified Buildings | Cumulative Certified Buildings Total | Current Year Floor Area (Millions) | Cumulative Floor Area (Millions)
| 2010 | 6775 | 13757 | 1359 | 2288 |  | 2010 | 6210 | 12612 | 1225 | 2108
| 2011 | 6015 | 16444 | 1233 | 2643 |  | 2011 | 7514 | 16484 | 1476 | 2640
| 2012 | 8286 | 20367 | 1557 | 3126 |  | 2012 | 8268 | 20407 | 1540 | 3123
| 2013 | 6930 | 23097 | 1425 | 3462 |  | 2013 | 6249 | 22984 | 1260 | 3441
| 2014 | 6893 | 25443 | 1429 | 3762 |  | 2014 | 6628 | 25340 | 1333 | 3736
| 2015 | 7062 | 27519 | 1563 | 4055 |  | 2015 | 7389 | 27570 | 1613 | 4048
| 2016 | 7578 | 29540 | 1677 | 4343 |  | 2016 | 7508 | 29554 | 1655 | 4325
| 2017 | 9554 | 32625 | 2002 | 4761 |  | 2017 | 9554 | 32639 | 1855 | 4714
| 2018* | 9165 | 34949 | 2062 | 5100 |  | 2018* | 8450 | 34791 | 1991 | 5076
| 2019 | 5709 | 35997 | 1369 | 5283 |  | *as of 2/28/2019
| 2020 | 6487 | 37081 | 1038 | 5489 |  | *as of 2/28/2019
| 2021 | 6068 | 38630 | 1518 | 5840

## 33 LEED Commercial Buildings
SOURCE: | USGBC (2022) |  |  | SOURCE: | USGBC (2019)
Website: | n/a
DATA: |  |  |  | DATA:
| LEED Online | LEED Online |  | LEED Online | LEED Online
Year | Cumulative # of Projects | Cumulative Floor Area (SF) | Cumulative Floor Area (Millions SF) | Cumulative # of Projects | Cumulative Floor Area (SF) | Cumulative Floor Area (Millions SF) | Year Certified
2000-01-01 | 2 | 677600 | 0.6776 | 2 | 677600 | 0.6776 | 2000-01-01
2001-01-01 | 8 | 2016765 | 2.0168 | 8 | 2016765 | 2.0168 | 2001-01-01
2002-01-01 | 28 | 4222461 | 4.2225 | 28 | 4222461 | 4.2225 | 2002-01-01
2003-01-01 | 72 | 11520762 | 11.5208 | 72 | 11520762 | 11.5208 | 2003-01-01
2004-01-01 | 183 | 24756492 | 24.7565 | 183 | 24756492 | 24.7565 | 2004-01-01
2005-01-01 | 363 | 48085292 | 48.0853 | 363 | 48085292 | 48.0853 | 2005-01-01
2006-01-01 | 660 | 82374799 | 82.3748 | 660 | 82374799 | 82.3748 | 2006-01-01
2007-01-01 | 1176 | 139986571 | 139.9866 | 1176 | 139986571 | 139.9866 | 2007-01-01
2008-01-01 | 2101 | 248888548 | 248.8885 | 2101 | 248888548 | 248.8885 | 2008-01-01
2009-01-01 | 4286 | 579618020 | 579.618 | 4286 | 579618020 | 579.618 | 2009-01-01
2010-01-01 | 7203 | 1038850279 | 1038.8503 | 7203 | 1038850279 | 1038.8503 | 2010-01-01
2011-01-01 | 10508 | 1498942597 | 1498.9426 | 10508 | 1498942597 | 1498.9426 | 2011-01-01
2012-01-01 | 14146 | 1890449457 | 1890.4495 | 14146 | 1890449457 | 1890.4495 | 2012-01-01
2013-01-01 | 17897 | 2311693929 | 2311.6939 | 17897 | 2311693929 | 2311.6939 | 2013-01-01
2014-01-01 | 21361 | 2748322794 | 2748.3228 | 21361 | 2748322794 | 2748.3228 | 2014-01-01
2015-01-01 | 24629 | 3211951850 | 3211.9518 | 24629 | 3211951850 | 3211.9518 | 2015-01-01
2016-01-01 | 28060 | 3699313619 | 3699.3136 | 28060 | 3699313619 | 3699.3136 | 2016-01-01
2017-01-01 | 30845 | 4205709340 | 4205.7093 | 30845 | 4205709340 | 4205.7093 | 2017-01-01
2018-01-01 | 33656 | 4740958391 | 4740.9584 | 33656 | 4740958391 | 4740.9584 | 2018-01-01
2019-01-01 | 35258 | 5088681973.73 | 5088.682 | 35258 | 5088681973.73 | 5088.682 | 2019-01-01
2020 | 36955 | 5212197199 | 5212.19
2021 | 38633 | 5493549911 | 5493.91
2022* | 39656 | 5675319727 | 5675.3197
*as of 9/2/2022

## 34 Model Building Energy Codes
Source: | PNNL (2022)
Website: | https://public.tableau.com/app/profile/doebecp/viz/HistoricalModelEnergyCodeImprovement/CombinedHistoricalCodeImprovement_1
DATA:
Residential Code | Year of Code | Residential Normalized Energy Use | % change | Commercial Code | Year of Code | Commercial Normalized End Use | % change
ASHRAE 90-1975 | 1975 | 100 |  | ASHRAE 90-1975 | 1975 | 100
MEC 1980 | 1980 | 95.98 | -4.02% | 90A-1980 | 1980 | 100 | 0%
MEC 1983 | 1983 | 96.48 | 0.5209% | 90.1-1989 | 1989 | 86 | -14%
MEC 1986 | 1986 | 96.48 | 0% | 90.1-1999 | 1999 | 82.13 | -4.5%
MEC 1989 | 1989 | 96.48 | 0% | 90.1-2001 | 2001 | 82.54 | 0.4992%
MEC 1992 | 1992 | 88.61 | -8.157% | 90.1-2004 | 2004 | 72.36 | -12.33%
MEC 1993 | 1993 | 86.93 | -1.896% | 90.1-2007 | 2007 | 69.03 | -4.602%
MEC 1995 | 1995 | 86.93 | 0% | 90.1-2010 | 2010 | 56.26 | -18.5%
IECC 1998 | 1998 | 86.93 | 0% | 90.1-2013 | 2013 | 52.03 | -7.519%
IECC 2000 | 2000 | 86.93 | 0% | 90.1-2016 | 2016 | 48.49 | -6.804%
IECC 2003 | 2003 | 86.6 | -0.3796% | 90.1-2019 | 2019 | 46.21 | -4.702%
IECC 2004 | 2004 | 81.74 | -5.612% |  |  |  | -100%
IECC 2006 | 2006 | 82.75 | 1.236%
IECC 2009 | 2009 | 76.21 | -7.903%
IECC 2012 | 2012 | 61.64 | -19.12%
IECC 2015 | 2015 | 61.64 | 0%
IECC 2018 | 2018 | 60.97 | -1.087%
IECC 2021 | 2021 | 55.28 | -9.332%
Source | PNNL (2022)
Link | https://public.tableau.com/app/profile/doebecp/viz/BECPStatusofStateEnergyCodeAdoption/ResidentialDashboard
https://www.energycodes.gov/status/residential
DATA
(as of 9/30/22)
State | State Map Legend (As of June 2022) | Calculated | State Codes |  | 2006 IECC |  | 2009 IECC |  | 2012 IECC |  | 2015 IECC |  | 2018 IECC |  | 2021 IECC |  | State Map Legend (As of June 2022)
|  |  | Site Energy Index | Source Energy Index | Site Energy Index | Source Energy Index | Site Energy Index | Source Energy Index | Site Energy Index | Source Energy Index | Site Energy Index | Source Energy Index | Site Energy Index | Source Energy Index | Site Energy Index | Source Energy Index
Alabama | IECC_2015 with amendments | -15.67% | 0.79153 | 0.80322 | 1 | 1 | 0.92408 | 0.92492 | 0.7688 | 0.78394 | 0.76731 | 0.78254 | 0.75993 | 0.77517 | 0.6843 | 0.69941 | 2009 IECC
Alaska | None statewide | n/a |  |  | 1 | 1 | 0.91506 | 0.92077 | 0.67701 | 0.70979 | 0.67445 | 0.70721 | 0.66655 | 0.69921 | 0.58878 | 0.62823 | No statewide code
Arizona | Home rule | n/a |  |  | 1 | 1 | 0.92642 | 0.92222 | 0.79698 | 0.81662 | 0.79509 | 0.81515 | 0.79106 | 0.81001 | 0.72395 | 0.75168 | <2009 IECC
Arkansas | IECC_2009 with amendments | -48.97% | 0.96609 | 0.96474 | 1 | 1 | 0.91981 | 0.9215 | 0.7243 | 0.7456 | 0.7224 | 0.74386 | 0.71372 | 0.73537 | 0.6485 | 0.67222 | <2009 IECC
California | Custom | n/a |  |  | 1 | 1 | 0.93943 | 0.93992 | 0.80654 | 0.84326 | 0.80521 | 0.8423 | 0.79864 | 0.83582 | 0.69687 | 0.74487 | 2021 IECC
Colorado | Home rule | n/a |  |  | 1 | 1 | 0.92429 | 0.93297 | 0.74175 | 0.79098 | 0.73999 | 0.78951 | 0.73211 | 0.78164 | 0.66183 | 0.71566 | No statewide code
Connecticut | IECC_2015 with amendments | -15.61% | 0.75271 | 0.80665 | 1 | 1 | 0.91952 | 0.93127 | 0.72688 | 0.78666 | 0.72535 | 0.78558 | 0.71813 | 0.7781 | 0.65107 | 0.72588 | 2009 IECC
Delaware | IECC_2018 | -11% | 0.69368 | 0.70855 | 1 | 1 | 0.91367 | 0.91602 | 0.70475 | 0.71952 | 0.70279 | 0.71755 | 0.69368 | 0.70855 | 0.62495 | 0.63901 | 2018 IECC
District of Columbia | IECC_2015 with amendments | -12.27% | 0.78807 | 0.80585 | 1 | 1 | 0.94697 | 0.94881 | 0.81943 | 0.833 | 0.81823 | 0.83184 | 0.81121 | 0.82501 | 0.70193 | 0.71724 | 2018 IECC
Florida | IECC_2018 with amendments | -13.81% | 0.86113 | 0.85912 | 1 | 1 | 0.93287 | 0.93021 | 0.85429 | 0.85348 | 0.85343 | 0.85269 | 0.84838 | 0.84726 | 0.75663 | 0.76072 | 2009 IECC
Georgia | IECC_2015 with amendments | -18.5% | 0.796 | 0.8068 | 1 | 1 | 0.92088 | 0.92195 | 0.75892 | 0.77228 | 0.7572 | 0.77064 | 0.74976 | 0.76323 | 0.6717 | 0.68494 | 2009 IECC
Hawaii | IECC_2015 with amendments | -11.77% | 0.89118 | 0.87976 | 1 | 1 | 0.94693 | 0.9393 | 0.89171 | 0.88019 | 0.89118 | 0.87976 | 0.88615 | 0.874 | 0.7973 | 0.8058 | 2015 IECC
Idaho | IECC_2018 with amendments | -27.16% | 0.83951 | 0.85977 | 1 | 1 | 0.91673 | 0.9267 | 0.72253 | 0.77393 | 0.72099 | 0.77262 | 0.71338 | 0.76481 | 0.6602 | 0.71235 | 2009 IECC
Illinois | IECC_2018 with amendments | -15.44% | 0.75684 | 0.79766 | 1 | 1 | 0.92053 | 0.93026 | 0.72716 | 0.77796 | 0.7258 | 0.7768 | 0.71872 | 0.76951 | 0.6556 | 0.70884 | 2009 IECC
Indiana | IECC_2018 with amendments | -24.3% | 0.79325 | 0.82203 | 1 | 1 | 0.9167 | 0.92656 | 0.70707 | 0.7583 | 0.7054 | 0.75686 | 0.69758 | 0.74896 | 0.63819 | 0.69145 | 2009 IECC
Iowa | IECC_2012 with amendments | -17.43% | 0.74608 | 0.7767 | 1 | 1 | 0.91061 | 0.91838 | 0.69747 | 0.73538 | 0.69601 | 0.73398 | 0.68919 | 0.72688 | 0.63532 | 0.67249 | 2009 IECC
Kansas | Home rule | n/a |  |  | 1 | 1 | 0.9168 | 0.92428 | 0.70691 | 0.74659 | 0.70538 | 0.74518 | 0.69664 | 0.73668 | 0.62714 | 0.66927 | No statewide code
Kentucky | IECC_2009 | -43.34% | 0.92276 | 0.92518 | 1 | 1 | 0.92276 | 0.92518 | 0.73406 | 0.7499 | 0.7317 | 0.74756 | 0.72281 | 0.73888 | 0.64377 | 0.65971 | 2009 IECC
Louisiana | IECC_2009 | -27.76% | 0.92985 | 0.92741 | 1 | 1 | 0.92985 | 0.92741 | 0.80012 | 0.81265 | 0.79851 | 0.81127 | 0.79401 | 0.80602 | 0.72781 | 0.74261 | 2009 IECC
Maine | IECC_2015 with amendments | -5.798% | 0.66637 | 0.72688 | 1 | 1 | 0.90849 | 0.92007 | 0.66796 | 0.7282 | 0.66637 | 0.72688 | 0.65899 | 0.71919 | 0.62986 | 0.69592 | 2015 IECC
Maryland | IECC_2018 with amendments | -12.05% | 0.72386 | 0.73916 | 1 | 1 | 0.92173 | 0.92399 | 0.7344 | 0.74955 | 0.7326 | 0.74777 | 0.72386 | 0.73916 | 0.64603 | 0.66089 | 2018 IECC
Massachusetts | IECC_2018 with amendments | -2.528% | 0.65274 | 0.73372 | 1 | 1 | 0.91669 | 0.9298 | 0.71003 | 0.77544 | 0.70848 | 0.77437 | 0.70155 | 0.76718 | 0.63665 | 0.71675 | 2018 IECC
Michigan | IECC_2015 with amendments | -16.08% | 0.73354 | 0.77264 | 1 | 1 | 0.91063 | 0.92007 | 0.68835 | 0.73682 | 0.68673 | 0.73537 | 0.67971 | 0.72797 | 0.63195 | 0.67983 | 2009 IECC
Minnesota | IECC_2012 with amendments | -9.807% | 0.69614 | 0.73705 | 1 | 1 | 0.90897 | 0.91677 | 0.68374 | 0.72215 | 0.68231 | 0.72076 | 0.67533 | 0.71355 | 0.63397 | 0.67035 | 2009 IECC
Mississippi | None statewide | n/a |  |  | 1 | 1 | 0.91941 | 0.92089 | 0.75264 | 0.76973 | 0.75104 | 0.76822 | 0.74346 | 0.76068 | 0.67265 | 0.68928 | No statewide code
Missouri | Home rule | n/a |  |  | 1 | 1 | 0.91777 | 0.92536 | 0.71097 | 0.75145 | 0.70957 | 0.75016 | 0.7008 | 0.7416 | 0.63346 | 0.67624 | No statewide code
Montana | IECC_2018 with amendments | -13.44% | 0.74873 | 0.78997 | 1 | 1 | 0.91286 | 0.92365 | 0.70221 | 0.75601 | 0.70079 | 0.75476 | 0.69299 | 0.74682 | 0.66002 | 0.71084 | 2009 IECC
Nebraska | IECC_2018 | -9.35% | 0.7095 | 0.7466 | 1 | 1 | 0.91506 | 0.92267 | 0.71809 | 0.7553 | 0.71641 | 0.75372 | 0.7095 | 0.7466 | 0.64883 | 0.68655 | 2018 IECC
Nevada | IECC_2018 with amendments | -14.51% | 0.74155 | 0.77444 | 1 | 1 | 0.91798 | 0.92073 | 0.72694 | 0.76663 | 0.72477 | 0.76493 | 0.71642 | 0.7569 | 0.64757 | 0.6956 | 2009 IECC
New Hampshire | IECC_2015 with amendments | -29.5% | 0.84413 | 0.86757 | 1 | 1 | 0.91767 | 0.92939 | 0.71579 | 0.77582 | 0.71445 | 0.77482 | 0.707 | 0.7671 | 0.65183 | 0.72366 | 2009 IECC
New Jersey | IECC_2018 with amendments | -28.01% | 0.83201 | 0.85119 | 1 | 1 | 0.92552 | 0.93362 | 0.73435 | 0.77941 | 0.73271 | 0.77799 | 0.72441 | 0.76996 | 0.64997 | 0.70049 | 2009 IECC
New Mexico | IECC_2018 with amendments | -19.83% | 0.77495 | 0.81329 | 1 | 1 | 0.92296 | 0.93027 | 0.73145 | 0.77986 | 0.72886 | 0.77775 | 0.71982 | 0.7693 | 0.64673 | 0.70192 | 2009 IECC
New York | IECC_2018 | -10.95% | 0.72572 | 0.77158 | 1 | 1 | 0.92454 | 0.93327 | 0.73484 | 0.78038 | 0.73344 | 0.77917 | 0.72572 | 0.77158 | 0.6541 | 0.70402 | 2018 IECC
North Carolina | IECC_2015 with amendments | -20.08% | 0.80584 | 0.81838 | 1 | 1 | 0.9282 | 0.92922 | 0.76098 | 0.77567 | 0.75916 | 0.77393 | 0.75085 | 0.7658 | 0.67111 | 0.68538 | 2009 IECC
North Dakota | Home rule | n/a |  |  | 1 | 1 | 0.90656 | 0.91392 | 0.67019 | 0.70836 | 0.66875 | 0.70696 | 0.6618 | 0.69977 | 0.61478 | 0.65323 | No statewide code
Ohio | IECC_2018 with amendments | -19.47% | 0.76411 | 0.79904 | 1 | 1 | 0.9159 | 0.92571 | 0.70743 | 0.75827 | 0.70573 | 0.75678 | 0.69806 | 0.74899 | 0.63958 | 0.69208 | 2009 IECC
Oklahoma | IECC_2009 with amendments | -48.78% | 0.9053 | 0.90824 | 1 | 1 | 0.9053 | 0.90824 | 0.67141 | 0.69898 | 0.66928 | 0.69699 | 0.6606 | 0.68851 | 0.60848 | 0.63665 | 2009 IECC
Oregon | IECC_2018 with amendments | -8.337% | 0.75034 | 0.79814 | 1 | 1 | 0.93456 | 0.94144 | 0.77964 | 0.82157 | 0.77772 | 0.81998 | 0.77029 | 0.81248 | 0.69259 | 0.73718 | 2018 IECC
Pennsylvania | IECC_2018 with amendments | -10.68% | 0.71358 | 0.75995 | 1 | 1 | 0.92038 | 0.92883 | 0.71983 | 0.76697 | 0.71812 | 0.76549 | 0.70999 | 0.75739 | 0.64472 | 0.69566 | 2018 IECC
Rhode Island | IECC_2018 with amendments | -27.61% | 0.80429 | 0.83748 | 1 | 1 | 0.91105 | 0.92405 | 0.69664 | 0.76063 | 0.69503 | 0.75938 | 0.68781 | 0.75181 | 0.63028 | 0.70551 | 2009 IECC
South Carolina | IECC_2009 | -36.18% | 0.92791 | 0.92791 | 1 | 1 | 0.92791 | 0.92791 | 0.77005 | 0.78168 | 0.76848 | 0.7802 | 0.76059 | 0.77243 | 0.6814 | 0.69334 | 2009 IECC
South Dakota | Home rule | n/a |  |  | 1 | 1 | 0.90775 | 0.91554 | 0.67826 | 0.7173 | 0.67685 | 0.71594 | 0.67005 | 0.70889 | 0.63305 | 0.66892 | No statewide code
Tennessee | IECC_2018 with amendments | -42.68% | 0.94184 | 0.94091 | 1 | 1 | 0.92519 | 0.92689 | 0.74882 | 0.76418 | 0.74688 | 0.7623 | 0.7383 | 0.75391 | 0.6601 | 0.67561 | <2009 IECC
Texas | IECC_2015 | -10.7% | 0.79877 | 0.8103 | 1 | 1 | 0.92964 | 0.92752 | 0.80028 | 0.8116 | 0.79877 | 0.8103 | 0.79392 | 0.80486 | 0.72154 | 0.73731 | 2018 IECC
Utah | IECC_2015 with amendments | -29.41% | 0.86865 | 0.88374 | 1 | 1 | 0.92283 | 0.93137 | 0.74667 | 0.79566 | 0.74512 | 0.79441 | 0.73748 | 0.78661 | 0.67124 | 0.72453 | 2009 IECC
Vermont | IECC_2018 with amendments | 9.432% | 0.57567 | 0.66387 | 1 | 1 | 0.91061 | 0.92287 | 0.67736 | 0.74067 | 0.67581 | 0.73946 | 0.6687 | 0.73208 | 0.63561 | 0.70548 | 2021 IECC
Virginia | IECC_2018 with amendments | -23.01% | 0.80837 | 0.81721 | 1 | 1 | 0.92365 | 0.92631 | 0.74941 | 0.76508 | 0.74776 | 0.76348 | 0.73938 | 0.75523 | 0.65716 | 0.67275 | 2009 IECC
Washington | Custom | n/a |  |  | 1 | 1 | 0.92908 | 0.93647 | 0.75907 | 0.80238 | 0.75702 | 0.80062 | 0.74959 | 0.79313 | 0.67815 | 0.72312 | 2021 IECC
West Virginia | IECC_2009 | -40.56% | 0.92499 | 0.92717 | 1 | 1 | 0.92499 | 0.92717 | 0.74555 | 0.75874 | 0.74377 | 0.75696 | 0.7352 | 0.74845 | 0.65809 | 0.67082 | 2009 IECC
Wisconsin | IECC_2009 with amendments | -41.99% | 0.89053 | 0.90502 | 1 | 1 | 0.9063 | 0.91701 | 0.6781 | 0.73098 | 0.67676 | 0.72977 | 0.66996 | 0.72255 | 0.62716 | 0.67843 | 2009 IECC
Wyoming | Home rule | n/a |  |  | 1 | 1 | 0.90519 | 0.91582 | 0.66241 | 0.71721 | 0.66064 | 0.71563 | 0.65284 | 0.70766 | 0.61673 | 0.67016 | No statewide code

## 35 ZNE Residential
SOURCE: | Team Zero (2017, 2018)
Website: | https://drive.google.com/file/d/1TC2NAUr1slFkVi_PZF6QKOw2KKNplTAD/view
See: | Slide #5 for 2018 Inventory Report; Slide #4 for 2017 Inventory Report
DATA:
U.S. Residential Zero Energy Buildings
Year | Single-family | Multi-family units | Total units
2017 | 5256 | 7234 | 12490
2018 | 6097 | 12645 | 18742
2019-Q2 to 2020-Q3 | 6671 | 17876 | 24547

## 35 ZNE Commercial
SOURCE: | NBI (2022) |  | 2019 Report Data
Websites: | https://newbuildings.org/resource/getting-to-zero-database/ |  | SOURCE: | New Buildings Institute (2019)
DATA:
DATA:
U.S. Commercial Zero Energy Buildings
Year completed | ZNE Verified Buildings and Districts | ZNE Emerging Buildings and Districts | Commercial Zero Energy Buildings
|  |  | Year completed | ZNE Verified Buildings and Districts | ZNE Emerging Buildings and Districts
2018 | 116 | 276 | 2012 | 21 | 39
2019 | 126 | 309 | 2014 | 33 | 127
2020 | 129 | 341 | 2016 | 53 | 279
2021 | 130 | 358 | 2018 | 67 | 415
Current* | 154 | 462 | Current | 108 | 511
*As of July 2022. All values exclude multifamily. |  |  | Not able to match previous report #s

## 36 Performance Standards
SOURCE: | IMT (2022)
Website: | https://www.imt.org/public-policy/building-performance-standards/
https://www.imt.org/resources/map-national-bps-coalition-participating-jurisdictions/
DATA:

## 38 State Appliance Efficiency
SOURCE: | ASAP (2022) | [7 empty] | SOURCE: | ASAP (2019)
Website: | https://appliance-standards.org/states | [7 empty] | Website: | https://appliance-standards.org/states#states-table
See: | State Adoption of Energy Efficiency Standards | [7 empty] | See: | State Adoption of Energy Efficiency Standards
DATA:
State | Number of Products with Standards* | [7 empty] | State | Number of Products with Standards
WA | 21 | [7 empty] | California | 21
CA | 20 | [7 empty] | Washington | 19
CO | 18 | [7 empty] | Vermont | 17
NV | 18 | [7 empty] | Colorado | 15
MA | 17 | [7 empty] | Oregon | 8
NJ | 17 | [7 empty] | Connecticut | 7
OR | 17 | [7 empty] | Hawaii | 5
VT | 17 | [7 empty] | Rhode Island | 3
DC | 16 | [7 empty] | Arizona | 2
RI | 16 | [7 empty] | District of Columbia | 2
MD | 12 | [7 empty] | Maryland | 2
ME | 10 | [7 empty] | New Hampshire | 2
CT | 6 | [7 empty] | Texas | 2
HI | 5 | [7 empty] | Georgia | 1
NY | 4
NH | 2
TX | 2
AZ | 1
GA | 1
*as of September 12th, 2022
Product | AZ | CA | CO | CT | DC | GA | HI | ME | MD | MA | NV | NH | NJ | NY | OR | RI | TX | VT | WA
Air purifiers | DC: 2020; MD: 2022; NV: 2021; NJ: 2021; WA: 2022 | 2020
Battery Chargers | CA: 2012; OR: 2013 | 2012
Commercial Dishwashers | CO: 2019; DC: 2020; MD: 2022; MA: 2021; NV: 2021; NJ: 2021; OR: 2021; RI: 2021; VT: 2018; WA: 2019 | 2018
Commercial Fryers | CO: 2019; DC: 2020; MA: 2021; NV: 2021; NJ: 2021; OR: 2021; RI: 2021; VT: 2018; WA: 2019 | 2018
Commercial Ovens | MA: 2021; NV: 2021; NJ: 2021; RI: 2021; WA: 2022 | 2021
Commercial Steam Cookers | CO: 2019; DC: 2020; MD: 2022; MA: 2021; NV: 2021; NJ: 2021; OR: 2021; RI: 2021; VT: 2018; WA: 2019 | 2018
Compact Audio Equipment | CA: 2004; CT: 2011; OR: 2007 | 2004
Compressors | CA: 2019; CO: 2019; VT: 2018; WA: 2019 | 2018
Computers and Computer Systems | CA: 2016; CO: 2019; DC: 2020; HI: 2019; ME: 2021; MA: 2021; NV: 2021; NJ: 2021; OR: 2021; VT: 2018; WA: 2019 | 2016
Deep-Dimming Fluorescent Ballasts | CA: 2015 | 2015
DVD Players and Recorders | CA: 2004; CT: 2011; OR: 2007 | 2004
Electric Vehicle Supply Equipment | MA: 2021; NV: 2021; RI: 2021; WA: 2022 | 2021
External Power Supplies | CA: 2012 | 2012
Faucets |  | 2015 | 2019 |  | 2020 |  | 2019 | 2021 | 2022 | 2021 | 2019 |  | 2021 | 2019 | 2021 | 2021 |  | 2018 | 2019 | 2015
Gas fireplaces | NV: 2021; RI: 2021 | 2021
General Service Lamps | CA: 2008; CO: 2019; DC: 2020; ME: 2021; MA: 2021; NV: 2019; NJ: 2021; VT: 2017; WA: 2019 | 2008
High Light Output Double-Ended Quartz Halogen Lamps | OR: 2013 | 2013
HIgh-CRI Linear Fluorescent Lamps | CO: 2019; DC: 2020; HI: 2019; MA: 2021; NV: 2021; NJ: 2021; OR: 2021; VT: 2018; WA: 2019 | 2018
Hot Food Holding Cabinets |  | 2004 | 2019 | 2007 | 2020 |  |  | 2021 | 2007 | 2021 | 2021 | 2008 | 2021 |  | 2007 | 2021 |  | 2018 | 2022 | 2004
Mercury Vapor Lamp Ballasts | RI: 2005 | 2005
Metal Halide Lamp Fixtures | CA: 2009 | 2009
Portable Air Conditioners | CA: 2019; CO: 2019; VT: 2018; WA: 2019 | 2018
Portable Electric Spas | 2009 | 2019 | 2019 | 2007 | 2020 |  |  | 2021 | 2022 | 2021 | 2021 |  | 2021 |  | 2021 | 2021 |  | 2018 | 2022 | 2007
Residential Ventilating Fans | CO: 2019; DC: 2020; MD: 2022; MA: 2021; NV: 2021; NJ: 2021; OR: 2021; RI: 2021; VT: 2018; WA: 2022 | 2018
Showerheads |  | 2015 | 2014 |  | 2020 |  | 2019 | 2021 | 2022 | 2021 | 2019 |  | 2021 | 2019 | 2021 | 2021 |  | 2018 | 2019 | 2014
Small-Diameter Directional Lamps | CA: 2016 | 2016
Spray Sprinkler Bodies |  | 2019 | 2019 |  | 2020 |  | 2019 | 2021 | 2022 | 2021 |  |  | 2021 |  | 2022 | 2021 |  | 2018 | 2019 | 2018
Televisions | CA: 2009; CT: 2011; OR: 2013 | 2009
Toilets |  | 2015 | 2014 |  | 2020 | 2010 |  | 2021 | 2022 | 2021 | 2019 |  | 2021 | 2019 |  | 2021 | 2009 |  | 2019 | 2009
Uninterruptible Power Supplies | CO: 2019; VT: 2018; WA: 2019 | 2018
Urinals |  | 2015 | 2014 |  | 2020 |  |  | 2021 | 2022 | 2021 | 2019 |  | 2021 | 2019 |  | 2021 | 2009 | 2018 | 2019 | 2009
Water Coolers |  | 2004 | 2019 | 2007 | 2020 |  |  | 2021 | 2022 | 2021 | 2021 | 2008 | 2021 |  | 2021 | 2021 |  | 2018 | 2019 | 2004